****

# Roll of GMC during urban flood in Guwahati City as per Standard Operating Procedure (SOP):

* **Supervise and monitor the entire process.**
* **Deploy and train up operators for running the trolley mounted, vehicle mounted and kerosene-operated-portable pumps.**
* **Install and operate the pumps concerned for sucking out storm water from inundated areas to the nearest feeder drains.**
* **To increase the retention capacity of the primary drainage channels and feeder drains, *along with* that of the water retention bodies.**
* **To ensure the continuous flow of water in the channels and drains without any blockage.**
* **To make the channels and drains free from non-biodegradable materials and other garbage/ debris – *which* may cause blockage in the drainage system.**

**S.E, DIV-IV**

**9435046611**

**E.E, DIV-V**

**9435013643**

**E.E, DIV-VI**

**9864030535**

**S.E, DIV-III**

**7086054001**

**E.E, DIV-II**

**7086053976**

**E.E, DIV-I**

**9435045100**

**Pump Location:**

|  |  |  |  |
| --- | --- | --- | --- |
| **Sl. No.** | **Area Location** | **Nos.** | **Description** |
| 1 | Hatigaon Pragjyotish Apartment | 1 no. | Trolly mounted |
| 2 | Kanaklata Byelane, Lachit Nagar | 1 no. | Auto mounted |
| 3 | Lachit Nagar, B. T. College Road (West) | 1 no. | Trolly mounted |
| 4 | Rajgarh Bridge | 2 no. | 1 no. Trolly mounted and 1 no. Auto Mounted. |
| 5 | Rajgarh Bye Lane No. 6 | 1 no. | Auto mounted |
| 6 | Nabin Nagar, LKRB Road | 2 no. | Auto Mounted |
| 7 | Uzanbazar River side, SRS Road | 1 no. | Auto mounted |
| 8 | VIP Road | 2 no. | Auto mounted |
| 9 | KK Handique Path | 1 no. | Auto mounted |
| 10 | Green Path | 1 no. | Trolly mounted |
| 11 | Lachit Lane | 1 no | Trolly mounted |
| 12 | Kanaklata Path | 1 no. | Trolly mounted |
| 13 | Bimala Nagar | 1 no. | Auto mounted |
| **\* *6 nos. trolley/Auto mounted and 10 nos. Kerosene pump will be on standby.***  **\* *8 nos. Auto Van mounted De-watering Pump set are standby, which has newly procured from SDRF fund.*** | | | |

**De-watering Pumps handed over from GMDA:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sl. No.** | **Area Location** | **Nos.** | **Capacity**  **(Liter per Seconds)** | **Monitoring Officer** |
| 1 | Anil Nagar | 5 nos. | 350 LPS | Sri Suraj Chetry  JTO, Garage Branch,  Ph. No.7086090666 |
| 2 | Anil Nagar, Near Meghmallar Apartment | 1 no. | 150 LPS |
| 3 | Lachit nagar | 1 no. | 350 LPS |
| 3 no. | 150 LPS |
| 4 | Mazar Road | 1 no. | 150 LPS |
| 5 | Green Path | 1 no. | 350 LPS |
| 6 | Kumarpara Tiniali | 1 no. | 150 LPS |
| 7 | Pandu Port | 1 no. | 350 LPS |
| 8 | GMDA Yard, Rup Nagar (Stand by) | 5 nos. | 150 LPS |
| 9 | GMDA Yard, Rup Nagar (Stand by) | 1 no. | 350 LPS |
| **Total Nos.** | | **20 nos.** |  |

**TIMELINE:**

* All the de-silting works of 30 packages should be completed by 30th April, 2017 and maintenance work will continue up to 31st Oct, 2017. (Concern Divisional Engineers)
* All the major channel must be cleared by 30th April, 2017 and maintenance work will be continue up to31st October, 2017 (Concern Divisional Engineers).
* All the de-watering pumps must be kept ready by 31st March, 17 and to be handed over by 15th April, 17 to the concerned divisional engineers as per location (Action i/c Garage Branch, GMC).

**Pump Operators Duty**

* Operators shall be put in duty on shift basis; and the Duty Chart shall be well-publicised.
* Operators of all pumps shall have to check their respective pump-sets every day during the Flood Season [*i.e.* from May to October]. The items of the check *include*:
* Working Condition of Pumps;
* Positioning of Pumps at different locations;
* Electrical Supply and Functioning of Electrical Gadgets; and
* Availability of P.O.L. for the diesel-engine operated pumps.
* Operators and supporting manpower shall have to be available at the pumping station/ sump sites round the clock.

**Operation of De-watering Pump set**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sl. No** | **Name of In-charge** | **Division** | **Name of Pump Operator** | **Contact No.** |
| 1 | Sri Simanta Jyoti Baruah, E.E  Ph. No. 9435045100  Ward no. 4,5,7 and 8  Sri Diganata Gogoi, A.E.E  In charge Ward no. 1,2,3  Ph. No. 9435110319 | I | Kunderpudi Kamraju | 9957101529 |
| 2 | G. Kamruaju | 9957529340 |
| 3 | Charat Deka | 8721989205 |
| 4 | V. Madhu Sudan Rao | 9678098029 |
| 5 | Viskarma Boro | 9957323882 |
| 6 | B. Birju | 9085938953 |
| 7 | Sri Jagadish Kumar, E.E  Ph. No. 7086053976  Ward no. 10,11,12 and 13 | II | Kuldip Singh | 9678781988 |
| 8 | Nursad Ali | 7399996035 |
| 9 | A Kama Appa Rao | 9954393831 |
| 10 | U. Sankar Rao | 8876949529 |
| 11 | Sri Akbar Ali, S.E,  Ph. No. 7086054001  Ward no. 19,20,21,22,23 and 24 | III | Dembesar Kalita | 9864306783 |
| 12 | Rahim Ahmed | 9957510837 |
| 13 | Dharmeswar Deka | 8720909188 |
| 14 | Idul Ali | 9706209689 |
| 15 | Simanta Malakar | 8473860828 |
| 16 | Sri Manoranjan Bharali, S.E  Ph. No. 9435046611  Ward no. 9,14,15 and 18 | IV | Biren Talukdar | 8822578772 |
| 17 | Mufij Ali | 8486315427 |
| 18 | Abbarahul Ali | 7399399293 |
| 19 | Wokil Basfore | 7896122116 |
| 20 | A. Rajkumar |  |
| 21 | Ceere Ravi | 9678803201 |
| 22 | Wahral Rao |  |
| 23 | Sri B. N. Chaudhary, E.E  Ph. No. 9435013643    Ward no. 25,26,28,29,30 and 31 | V | Bajrangi Shah | 8876482306 |
| 24 | Chandeswar Shah | 9678229132 |
| 25 | Arshad Rahman | 9859519605 |
| 26 | Arju Ali | 8011812845 |
| 27 | Rahuluddin Ali | 9859409884 |
| 28 | Sri Gautam Das, E.E  Ph no. 9864030535  Ward no. 6,16,17 and 27 | VI | A. Appa Rao | 9954051498 |
| 29 | Dalay Boro | 9706121931 |
| 30 | Ranjit Boro | 9707531455 |
| 31 | Purna Boro | 7896603163 |
| 32 | Prafulla Das | 8752812012 |
| 33 | Muhim Borp | 9854630089 |
| 34 | Amit Bafsore | 7896137277 |

**Duty of Control Room**

* That information shall be disseminated to all the officers connected with pump management *in case of* GMC, Water Resources (Mechanical) and GMDA [*including* controlling officers, monitoring officers, officers-in-charge pumps, pump supervisors and pump operators)] – *through* SMS, Phone-Call & WhatsApp post.
* The operators thus assigned duty shall *immediately* go to their designated pump-sites, and shall *accordingly* get ready to put their respective pumps in operation.
* In case of pumps allocated to areal locations or kept in reserve, the operator (in association with the officer-in-charge) shall:
* Take out the pump concerned from the Govt. Officer where it is stored;
* Transport the pump to its designated location [if allocated to any areal location] or where it is required [if kept in reserve]; and
* Get ready to put the pump in operation.

**BREAK-UP OF OPERATIONS**

* Excavation and de-siltation of the 5 primary drainage channels: Bharalu, Mora Bharalu, Basistha, Bahini and Lakhimijan.
* Maintaining the channels concerned with the pre-set cross-section achieved after the accomplishment of the excavation and de-siltation.
* Cleaning, garbage clearing, and de-siltation of all feeder drains within Guwahati City through contractors [*for* 277 numbers of drains *in the form of* 30 numbers of packages] and through own staff [*for* the rest of the drains].
* Once total cleaning of the drains is accomplished, the bed level of the drain shall be kept silt and garbage
* Removal of any clogs (*if any*) in the drains during high intensity rains 24x7 using mechanical/manual means.
* Solid Waste Management so as to keep the water channels and inner drains garbage free.

**Relief and Rehabilitation:**

* Arrange safe drinking water and sanitation during floods – *along with* the PHE Department. Provide mobile water tankers for ensuring supply of potable water to the flood affected areas [There are 7 (seven) water tankers of various capacity available for the purpose, which will be kept filled up 24 x 7].
* Remove general *as well as* toxic waste, so also sewerage, during floods.
* Arrange fogging measures for mosquito control in areas with stagnant water - *especially* areas which were recently affected by floods.
* Monitor & manage the operation of transportation for the GMC Emergency Operation Centre (EOC).
* Prepare and maintain a current list of personnel, vehicle, equipment and their locations.
* Coordinate for removal of debris and the restoration of transportation infrastructure.
* Conduct clean up and restoration work utilizing departmental staff.
* Provide Rickshaw as per requirement for transportation in the flood affected lanes/bye lanes during the period of submerging. Divisional Engineers of the concerned area shall arrange the Rickshaws.

**Alert Level as per Govt. SOP**

* **Green Alert**: *indicates* floods of manageable intensity which can be eliminated by proper drainage and pump management.
* **Amber Alert**: *indicates* floods of moderate to heavy intensity which can be minimized and even eliminated by proper drainage and pump management, but may need activation of other aspects of disaster management – *viz.* public health and sanitation, transportation management, power management, and public health and safety.
* **Red Alert**: *indicates* massive floods which cannot be controlled within a short time, and wherein all aspects of disaster management need activation.

**Packages & Monitoring Officer for De-silting works**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sl. No.** | **Group No.** | **Name of Drains** | **Name of Contractor** | **Officer In-charge** | **Estimated Amount (Rs. In L)** |
| 1 | DSLT/ D-I/A | Fakirtola inner drain | Ujjal Choudhury | 1. N. Ahmed, ACS, Addl. Commissioner, GMC   7086053923   1. S. J. baruah, E.E, DIV-I   9435045100   1. Homen Deori, A.E, DIV-I   7086053968   1. Jyotiban Das, JTO, DIV-I   7086053969 | 106.57 |
| Kabarsthan inner drain |
| Santisabha inner drain |
| Machkhowa inner drain |
| FA Road side cover drain |
| Sati Joymoti Road side cover drain from AT road to SC road culvert (west side) |
| Kedar Road Side covered drain from M.G. Road to F.A. Road |
| Kedar Road underground drain from M.G. Road to F.A. Road |
| KRC road side cover drain |
| KRB cover drain |
| RKC cover drain |
| Sankar Madhab cover drain |
| AT road side cover drain from over bridge  to Bharalu (both side) |
| Durgasarobar inner drain from Naranarayan to Sankar Madhab |
| Santipur inner drain by the side of Marzinabura inner drain |
| Santipur inner drain by the side of Namghar |
| 2 | DSLT/ D-I/B | AK Dev Road side cover drain | Bijan Singha | 1. N. Ahmed, ACS, Addl. Commissioner, GMC   7086053923   1. S. J. baruah, E.E, DIV-I   9435045100   1. Jyotiban Das, JTO, DIV-I   7086053969 | 80.56 |
| Dhirenpara Kali Mandir Road side drain |
| Katah Bari Nizarapar Path Road side drain |
| Ambari Tiniali inner drain starting from AK Dev road |
| Dhuma Basumatari inner drain |
| Underground drain at Dhirenpara by the side of Snehalaya from AK Dev Road |
| Akashi Path underground drain at Fatasil Kali Mandir from AK Dev Road |
| Bhukunda inner drain via Biru Pahar up to Khanajan |
| Drain from Fakirtola up to Bez Para |
| Medhipara to Idgah Field |
| Dhapapul Path to Fakirpara |
| 3 | DSLT/D-I/C | Inner drain near St. Mary’s School Maligaon up to Pragjyotishpur | M/S G.B. Construction | 1. N. Ahmed, ACS, Addl. Commissioner, GMC   7086053923   1. S. J. baruah, E.E, DIV-I   9435045100   1. Homen Deori, A.E, DIV-I   7086053968 | 104.25 |
| Dr. Binay Tamuli road drain from Gotanagar up to NH 37 |
| PNGB inner drain from DG Road up to Rly Culvert |
| Nilachalpur Bez Boruah inner drain near LCB College |
| Green Park Colony inner drain by the side  of Rly track near Kamakhya Station up to DG Rd culvert |
| D G road from Katia Dolong up to Maligaon over bridge (North side) |
| 4 | DSLT/D-I/D | D G road from Katia Dolong up to Maligaon over bridge (South side) | Hrishikesh Talukdar | 1. N. Ahmed, ACS, Addl. Commissioner, GMC   7086053923   1. S. J. baruah, E.E, DIV-I   9435045100   1. Homen Deori, A.E, DIV-I   7086053968 | 87.47 |
| Pandu Port Road Rly drain from P&T Culvert to Sluice Gate (Rly drain) |
| Ananda Nagar Main drain from DG Road up to P&T inner drain |
| Inner drain from Pandu Fish Market up to River Brahmaputra |
| Adabari Bus Stand east side drain |
| Adabari Bus Stand west side drain |
| 5 | DSLT/D-I/E | Pandu Maligaon inner drain | M/S Rajshekhar Constructions Pvt. Ltd. | 1. N. Ahmed, ACS, Addl. Commissioner, GMC   7086053923   1. S. J. Baruah, E.E, DIV-I   9435045100   1. Homen Deori, A.E, DIV-I   7086053968   1. N. J. konwar, JTO, DIV-I   7662966129 | 143.21 |
| Bara Bazaar Inner drain |
| Puran Bazaar inner drain from Shakuntala Colony up to Temple Ghat main drain |
| Pandu Maligaon box inner drain |
| Road side cover drain at Pandav Nagar by the side of Hospital |
| Mission Para inner drain back side of Pandu College |
| Kamakhya Colony upper, middle & lower open drain |
| Kamakhya Road from Bhubaneswari Temple up to DG Road |
| Kamakhya Mekhela Ujua Path drain to Durgasarobar |
| Cover drain from old car parking to Smashan Ghat including culvert |
| DG Road from Maligaon to Bharalumukh (PWD) |
| 6 | DSLT/D-II/A | Northern side railway drain from Chandmari fly-over point up-to Senapati Colony road culvert. | K.K. Talukdar | 1. N. Ahmed, ACS, Addl.. Commissioner, GMC   7086053923   1. Jagadish Kumar, E.E, DIV-II   7086053976   1. Pankaj Choudhury, A.E, DIV-II   7086053960   1. R. Saikia, A.E, DIV-II   7086053981 | 112.89 |
| Northern side railway drain fm Senapati Colony road to U.N. Bezboruah road |
| Northern side railway drain from U.N. Bezboruah road culvert up- to railway culvert below B. Boruah over bridge. |
| **Sl. No.** | **Group No.** | **Name of Drains** | **Name of Contractor** | **Officer In-charge** | **Estimated Amount (Rs. In L)** |
| 7 | DSLT/D-II/B | Solapara drain from railway culvert below B. Boruah over bridge point up-to Nandan Hotel. | Dewan Haidar Ali | 1. N. Ahmed, ACS, Addl. Commissioner, GMC   7086053923   1. Jagadish Kumar, E.E, DIV-II   7086053976   1. Pankaj Choudhury, A.E, DIV-II   7086053960   1. R. Saikia, A.E, DIV-II   7086053981 | 93.20 |
| Ambari road side drains from Jorpukhuri to G.N.B. road. |
| Ambari inner drain from Jorpukhuri to G.N.B. road. |
| Anu Gogoi road (A.G.P. Goli) side drain up-to Rly. Culvert including inner drain |
| Southern side Railway drains from Pub Sarania road to Solapara master drain. |
| 8 | DSLT/D-II/C | Silpukhuri Box drains up-to Railway side drain. | Bristi Buragohain | 1. N. Ahmed, ACS, Addl. Commissioner, GMC   7086053923   1. Jagadish Kumar, E.E, DIV-II   7086053976   1. Pankaj Choudhury, A.E, DIV-II   7086053960   1. R. Saikia, A.E, DIV-II   7086053981 | 85.81 |
| Pensionpara storm water drain including silt chamber |
| Nabagraha storm water drain including silt chamber.(Covered Drain) |
| Happy Villa inner drain up-to Sluice Gate near Satrakar Mandir Gate. |
| Padum Pukhuri Road side drain (Covered Drain) |
| Milanpur inner drain. |
| Inner drain from P.D. Chaliha Road up to Railway drains at Lakhi Service. |
| A.I.R inner drain at Chandmari |
| Bapuji Nagar Road side drain |
| Boluram Bora Road side drain.(cover) |
| Saraswati inner drain. |
| Paltanbazar inner drain by the side of Market & New field. |
| Inner drain from Haji Musafir Khana road behind Nehru Stadium. |
| Lachit Nagar Kali Mandir Inner drain |
| Gandhi Basti Girls High School inner drain |
| Gandhi Basti Namghar inner drain. |
| Inner drain by the side of Harisabha up to Rly. Culvert. |
| Danish Road side drain (Both side) |
| Col. J. Ali Road side drain (Right & Left) |
| 9 | DSLT/D-II/D | South Sarania Main Road side drain (Both side) | Sazia Begum | 1. N. Ahmed, ACS, Addl. Commissioner, GMC, 7086053923 2. Jagadish Kumar, E.E, DIV-II   7086053976   1. Pankaj Choudhury, A.E, DIV-II   7086053960   1. R. Saikia, A.E, DIV-II   7086053981 | 117.03 |
| G.S. road side drain from Vishal to Janata Hotel at Paltan Bazaar (both side). |
| B. Boruah road side drain (Eastern side). |
| Rajgarh main road side drain |
| Underground drain at Pub Sarania. |
| Islampur underground Hume pipe drain |
| Islampur Box drain. |
| Road side drains of B. Boruah road (East) from the T.C. School point up to the Junction of Hedayatpur drain. |
| Underground drain from Hedayatpur road Junction up to Railway drain. |
| Kharghuli road side drain from P.K. Mahan up to Sankar Mandir culvert ( both side ) |
| H.B. road side drain (both side) from Judge field to Mahamaya. |
| Motilal Nehru road side drains (Both side) |
| **Sl. No.** | **Group No.** | **Name of Drains** | **Name of Contractor** | **Officer In-charge** | **Estimated Amount (Rs. In L)** |
| 10 | DSLT/D-III/A | Santi Nagar Drain in w/no-24 | Pankaj Deka | 1. D. K. Mishra, ACS, Joint Commissioner   7086028340   1. Akbar Ali, S.E,   DIV-III, 7086054001   1. C. R. Dutta, A.E, DIV-III,   7086053955   1. Anuj Talukdar, A.E,   DIV-III, 7086053956   1. P. Thakuria, A.E, DIV-III,   9435046055 | 218.08 |
| Bhaskar Nagar Inner Drain from Rly Line to Refinery drain in w/no-41. (New - 21) |
| Inner Drain from Mandir Path to Mother Teressa Road near Narikal Basti Park in w/no-41.(New-21) |
| Inner Drain from Narikal Basti bye lane no-4 via State Bank Colony up to R.G.B. Road in w/no-41. (New-21) |
| Inner Drain from Dukhia Store to M.R.D. Road W/N.23 |
| Inner Drain from Krishna Nagar (Jyoti Nagar) Kali Mandir to silt chamber at M.R.D. Road in w/no- 23 |
| Inner Drain from Krishna Nagar (Japorigog to Bahini River. in w/no-44. (New-20) |
| Open drain by the side of GMCH from Kacharibasti road to Medical College Road, in W/No.43.(New-19) |
| Refinery Drain from ASIDC to Bhaskar Nagar Drain. in w/no-41.(New-21) |
| Nayanpur Kalyani Nagar ( Mandakini Path) in w/no-20 |
| Tarun Nagar Bye Lane no-5 in w/no-42.(New-20) |
| 11 | DSLT/D-III/B/1 | R.G. Boruah Road side drain from Arunachal Path to Bharalu Bridge, in W/no.42/41.(New-21) | Tarun Deka | 1. D. K. Mishra, ACS   Joint Commissioner  7086028340   1. Akbar Ali, S.E,   DIV-III, 7086054001   1. C. R. Dutta, A.E, DIV-III,   7086053955   1. P. Thakuria, A.E, DIV-III,   9435046055 | 117.48 |
| 12 | DSLT/D-III/B/2 | Salbari Inner drain in W/No-46(New-22) | Jogesh Das | 1. D. K. Mishra, ACS   Joint Commissioner, GMC  7086028340   1. Akbar Ali, S.E,   DIV-III, 7086054001   1. Anuj Talukdar, A.E,   DIV-III, 7086053956   1. C. R. Dutta, A.E, DIV-III,   7086053955 | 87.78 |
| Jana Path(Entire Jana Path) |
| Kushal Nagar road and its Bye lane. |
| L.K.R.B. Road Main Road. |
| Senduri Ali (From Jonali to Anil Nagar) |
| Ambikagiri Main Road. |
| Sree Nagar main Road with all bye lanes (A/B) |
| Japorigog High School to Sundarpur path |
| Jayanta Hazarika Path(Both side) |
| Hastinapur (From Matiya Inzal Road to J.H.P) |
| Manik Nagar (R.G.B Road to MANIK Nagar Tiniali) |
| Nayanpur Tiniali to Bridge. |
| From Japorigog field to Nayanpur Tiniali. |
| Bikrampur Path Main Road with all bye lanes |
| Krishnanagar Smashan to Silpota. |
| Silpota to near Dr. Mishra. |
| Mandir Path |
| **Sl. No.** | **Group No.** | **Name of Drains** | **Name of Contractor** | **Officer In-charge** | **Estimated Amount (Rs. In L)** |
| 13 | DSLT/D-III/C | Amar Path | Kulen Hazarika | 1. D. K. Mshra, ACS,   Joint Commissioner, GMC  7086028340   1. Akbar Ali, S.E,   DIV-III, 7086054001   1. Anuj Talukdar, A.E,   DIV-III, 7086053956   1. C. R. Dutta, A.E, DIV-III,   7086053955   1. P. Thakuria, A.E, DIV-III   9435046055 | 221.86 |
| Chinaki Path |
| Narikalbari byelane-1,2,3&4 |
| 4th bye lane Narikalbari to Reserve Bank Colony up to Jyoti Path. |
| Monalisa Path |
| Milan Path |
| Pani Path |
| CPWD Back side drain |
| Sampriti Path. |
| Baikunthapur Path. |
| Karbi Path. |
| Bhaskar Nagar 5th bye lane up to Masjid Milijuli Path |
| Apurba Singha Path |
| Drain Connecting AIDC drain from BG Go down Mathgharia |
| GMCH Road from Ganeshguri to Bhangagarh |
| 14 | DSLT/D-III/D | (a)Radha Govinda Boruah Road (ch.0.00 m. to ch. 3000.00m) from Ganeshguri to Zoo-Tiniali pt.) | Madan Boro | 1. D. K. Mishra, ACS, Joint Commissioner, GMC 7086028340 2. Akbar Ali, S.E,   DIV-III, 7086054001   1. Anuj Talukdar, A.E,   DIV-III, 7086053956   1. C. R. Dutta, A.E, DIV-III,   7086053955   1. P. Thakuria, A.E, DIV-III   9435046055 | 233.23 |
| Shaktigarh Road at Bhangagarh |
| Nepali Chowk to Gopal Nagar(right) |
| Matiya Ingjal Nayanpur Road |
| Japorigog Krishna Nagar Road |
| M.R.D. Road from Chandmari to Noonmati |
| 15 | DSLT/D-III/E | Barnachal Road | Pankaj Deka | 1. D. K. Mishra, ACS, Joint Commissioner, GMC   7086028340   1. Akbar Ali, S.E, DIV-III   7086054001   1. Anuj Talukdar, A.E,   DIV-III, 9864263869   1. P. Thakuria, A.E, DIV-III   9435046055 | 219.07 |
| Guwahati College Road at Bamunimaidam |
| Narengi Tiniali to Railway Track Road. |
| Noonmati Kharghuli Road (NBCC drain from Kalpa Bhatta Chowk to Gopal Nagar). |
| Out let drain of M.T. Road from Mother Teresa Road to B.G. Yard approach road behind DIMS Hospital |
| Mother Teressa Road at Zoo Narengi. Both side |
| **Sl. No.** | **Group No.** | **Name of Drains** | **Name of Contractor** | **Officer In-charge** | **Estimated Amount (Rs. In L)** |
| 16 | DSLT/D-III/F | VIP Road from Magazine road point to Narengi Tiniali | M/S Borluit Enterprise | 1. D. K. Mishra, ACS, Joint. Commissioner, GMC   7086028340   1. Akbar Ali, S.E,   DIV-III, 7086054001   1. C. Dutta, A.E, DIV-III   7086053955   1. P. Thakuria, A.E, DIV-III   9435046055   1. Anuj Talkudar,A.E,   DIV-III, 9864263869 | 231.51 |
| a)     Apurba Singha road then Apurba Singha road to Sluice gate, b) side drain from Apurba Singha road to sluice gate |
| Bhabanipur Chowk to Chandanpur |
| Swahid Nagar path |
| Gopal Nagar Path |
| Jyoti Nagar to Ganesh Nagar |
| Nepali Chowk to Jyoti Nagar via Haldi Mill |
| 2 no Ananda Nagar Path |
| Kailash Nagar to Bhabani pur L.P. school |
| 17 | DSLT/D-III/G | Narengi Tiniali to Gita Mandir | Hemanta Deka | 1. D. K. Mishra, ACS, Joint Commissioner, GMC   7086028340   1. Akbar Ali, S.E, DIV-III   7086054001   1. Anuj Talukdar, A.E,   DIV-III, 9864263869 | 201.32 |
| Puberun Path |
| Pani Path and its bye lane |
| Nepali Chowk to Bhabanipur |
| 18 | DSLT/D-III/H | B.G. Road by the side of DIIMS hospital | Kaushik Deka | 1. D. K. Mishra, ACS Joint Commissioner, GMC   7086028340   1. Akbar Ali, S.E, DIV-III   7086054001   1. Anuj Talukdar, A.E,   DIV-III, 9864263869 | 261.72 |
| Birkuchi Tiniali to Public cremation Ground via Segunbari Road |
| Birkuchi L.P. school to Kalitakuchi |
| Birkuchi Pukhuri par Road |
| Haripur Road to Siba Mandir |
| Uttar Pub Gita Nagar Path and its bye lane |
| Magazine Road and its bye lane |
| Pragati Nagar inner drain from Lower Jonaki Nagar to Santi Nagar path |
| Krishna Mandir path and its Bye lane |
| Bapuji Nagar Vidyalaya path and its bye lane |
| Sree Nagar Borkuma road and its Bye lane( cabin Chowk) |
| Seuj Colony ( Housing Colony) road |
| Kenduguri Road from Rly Crossing |
| 1no Ananda Nagar to Kailashpur |
| **Sl. No.** | **Group No.** | **Name of Drains** | **Name of Contractor** | **Officer In-charge** | **Estimated Amount (Rs. In L)** |
| 19 | DSLT/D-IV/A | Birubari inner drain from Achiram Rabha to Arya field. | Saidul Islam | 1. D. K. Mishra, ACS, Joint Commissioner, GMC,   7086028340   1. M. Bharali, S.E, DIV-IV   7086053970   1. Bubul Ch. Bora, A.E,   8255021806 | 67.73 |
| Barthakur Mill Road drain, Ulubari. |
| Drain at Sanimandir Road, Srimantapur. |
| Drain at Horse Race Road, Chilarai Nagar. |
| Lachit Nagar feeder drain. (Southern Side) |
| R.K. Mission Road (from Ulubari Smashan to Khargeswar Talukdar path, both side) |
| Birubari Rupnagar Main Road from GMCH Road to Kalicharan Nursing Home (Northern Side) |
| APRO inner drain, Ulubari |
| 20 | DSLT/D-IV/B | Green path inner drain, Lachit Nagar | Zeetendra Saloi | 1. D. K. Mishra, ACS, Joint Commissioner, GMC,   7086028340   1. M. Bharali, S.E, DIV-IV   7086053970   1. Bubul Ch. Bora, A.E,   8255021806 | 68.46 |
| Drain between R.K. Mission Road and Rupnagar Vidyapeeth School Road |
| B.K. Kakati Rd (from Ulubari Chariali up to Kachari Basti Road) (Eastern side) |
| Kachari Basti Road at Ulubari (from G.S. Rd. to B.K. Kakati Rd, both side) |
| GMCH Road at Bhangagarh (Western side) |
| Guwahati Shillong Road (from ASEB Mazhar Road to Ulubari Chariali, Both side) |
| 21 | DSLT/D-IV/C | Guwahati Shillong Road (from Ulubari Chariali to Shree Auto mobiles , Both side) | Dipak Sarma | 1. D. K. Mishra, ACS, Joint Commissioner GMC,   7086028340   1. M. Bharali, S.E, DIV-IV   7086053970   1. Bubul Ch. Bora, A.E,   8255021806 | 102.31 |
| Drain from Nandan Hotel Point to Barsola Beel. |
| K.C. Patowary lane, Manipuri Basti |
| Drain from B. Boruah Road up to Brahmachari Road via Manipuri Basti, Paltan Bazaar. |
| Anil Muzammil Road Eastern side (up to Pramathesh Boruah Rd) and its bye lane |
| Rehabari Beelpar drain, Rehabari |
| A.K. Azad Road (from Nepali Mandir to Serapbhati, Both Side) |
| Sati Joymoti Road drain, Beelpar |
| Madhabdevpur Road and its bye lanes |
| B.K. Kakati Rd (from Ulubari Chariali up to DGP office) (Western side) |
| B. Boruah Road (Western side from Ulubari Chariali to Solapara Road) |
| Piyoli Phukan Road from B.K. Kakati road to A.K. Azad Road |
| **Sl. No.** | **Group No.** | **Name of Drains** | **Name of Contractor** | **Officer In-charge** | **Estimated Amount (Rs. In L)** |
| 22 | DSLT/D-IV/D | Mahendra Nagar inner drain, Mahendra Nagar. | M/S Joganiar Construction | 1. D. K. Mishra, ACS. Addl. Commissioner, GMC,   7086028340   1. M. Bharali, S.E, DIV-IV   7086053970   1. P. Baruah, A.E, DIV-IV   9864056927   1. Anup Tahbildar, A.E, DIV-IV, 7086053950 | 84.96 |
| Drain at Bishnupur main road and its bye lanes |
| A.K. Azad Rd (From Kalicharan Nursing Home to Cycle Factory, both side) |
| A.K. Dev path footpath drain and its bye lanes, Fatasil |
| Sarusala inner drain, Tokobari. |
| Tokobari inner drain, from Himatsingka Petrol Pump to Solabeel. |
| Krishna Nagar area drain, Tokobari |
| A.T. Road from Vishal Point up to Goal Building |
| M.S. Road drain from Gate No.4 up to M.G. Road, Fancy Bazaar |
| Chamber road side covered drain, Fancy Bazaar |
| H.B. Road from SRCB up to MS road both side covered drain |
| Chatribari K.C. Road side drain from A.T. Road to Sarusala Beel |
| Ram Mandir Drain near Rly. Line including A.T. Road |
| 23 | DSLT/D-V/A | Guwahati Shillong Road from Ganeshguri to Farm gate | Satya Changmai | 1. D. Singh, ACS, Addl. Commissioner, GMC   9435153092   1. B .N. Chaudhury, EE,   DIV-V  7086053954   1. D. Talukdar, A.E, DIV-V   9435011481 | 127.56 |
| Natun Sosal drain |
| Jilika Path |
| Juripar main Drain. |
| Agriculture Complex Inner drain from Khanapara to Panjabari main Road. |
| Six mile Panjabari Road |
| a. Nabajyoti Nagar open Drain |
| b. Nabajyoti Nagar inner Drain |
| Batahghuli main Road |
| 24 | DSLT/D-V/B | B. N. Saikia Road (From Last gate to Basistha Chariali) | M/S K.H. Enterprise | 1. D. Singh, ACS, Addl. Commissioner, GMC   9435153092   1. B. N. Chaudhury, EE,   DIV-V  7086053954   1. D. Talukdar, A.E, DIV-V   9435011481 | 99.37 |
| Natun Bazaar road side drain up to Patorkuchi |
| Basistha Patorkuchi |
| Kundil Nagar Inner drain. |
| Patorkuchi inner drain. |
| Beltola inner drain up to NH-37. |
| Inner drain at Bakrapara |
| 25 | DSLT/D-V/C | Satgaon main Rd. from VIP Rd. to Satgaon Bagharbari link Road | Mastafa Ali | 1. D. Singh, ACS, Addl. Commissioner, GMC   9435153092   1. B. N. Chaudhury, EE,   DIV-V  7086053954   1. D. Talukdar, A.E, DIV-V   9435011481   1. B. Ojha, A.E, DIV-V   9864060338 | 118.80 |
| Dispur Narengi Road |
| Hengerabari Lichubagan inner drain |
| R.P. Road |
| Capital Complex from Last gate to G. S. Road Flyover at Ganeshguri. |
| Ganeshguri Flyover to Bahini river Hengerabari open drain. |
| Inner drain from Forest Gate to Hengerabari main Road near the R.C.C. Bridge. |
| **Sl. No.** | **Group No.** | **Name of Drains** | **Name of Contractor** | **Officer In-charge** | **Estimated Amount (Rs. In L)** |
| 26 | DSLT/D-V/D | Hatigaon Bhetapara Road | Dewan Haidar Ali | 1. D. Singh, ACS, Addl. Commissioner, GMC   9435153092   1. B. N. Chaudhury, EE, 2. DIV-V   7086053954   1. P. Sarma, A.E, DIV-V   9435014673   1. B. Ojha, A.E, DIV-V   9864060338   1. P. Lahkar, A.E, DIV-V   9864780100 | 152.92 |
| Basisthapur inner drain. |
| Rukmininagar inner drain at Rukmini Nagar. |
| Usha Nagar main Road & Sweeper Colony Road |
| S.K. Boruah main Road |
| Bishnu Rabha Path drain( From Beltola Chariali to Keraikuchi) |
| Faguna Rabha Out fall drain |
| Kalyani Sagar Outfall drain |
| Bhagaduttapur Outfall Drain |
| Hatigaon Dargah Road |
| Sijubari Idgah Road |
| Sijubari Miyajan Nagar main road via Bishnujyoti Path |
| 27 | DSLT/D-V/E | Khanapara Narengi Expressway Road (From Six mile up to Siva Mandir) | Satya Changmai | 1. D. Singh, ACS,   Addl. Commissioner, GMC  9435153092   1. B. N. Chaudhury, EE, DIV-V   7086053954   1. D. Talukdar, A.E, DIV-V   9435011481 | 153.22 |
| Hatigaon inner drain from E&D canal to Lakhimi Nagar culvert. |
| Rukmininagar Balibat Road |
| Mathura Dwaraka Path |
| Rukminigaon main Road |
| 28 | DSLT/D-VI/A | Kula Basumatari road side drain W/No-06 | Nipun Ch. Bora | 1. D. Singh, ACS   Addl. Commissioner, GMC  9435153092   1. Gautam Das, E.E,   DIV-VI  7086030535   1. D. Mali, A.E,   DIV-VI,  9864029990 | 110.76 |
| Road side drain of A.K. Dev road from Manpara to Katahbari, W/No.06 |
| Katahbari Box drain from Katahbari to Mora Bharalu (No.-1), W/No.06 |
| Katahbari Box drain from Katahbari to Mora Bharalu (No.-2), W/No.06 |
| Banabasu path side drain at Champak Nagar Ganeshpara W/No-06 |
| Odalbakra main road side drain from Lalganesh to power House, W/No.27 |
| Lakhra main road side drain from 4th APBN to Odalbakra Cross Culvert ,east side W/No.27 |
| 29 | DSLT/D-VI/B | Nripen Borah road side drain from Ambari Tiniali to Bhaskar Nagar Block-A, W/No.16 | Sarat Deka | 1. D. Singh, ACS Addl. Commissioner, GMC   9435153092   1. Gautam Das, E.E,   DIV-VI, 7086030535   1. Sankar Medhi, A.E,   DIV-VI, 7086053972 | 93.93 |
| Road side drain from Lakhra main road, by the side of BSNL to Mara Bharalu, W/No.16 |
| Lakhra main road side drain from Ananda Nagar to Morabharalu (west side) W/No.16 |
| Sree Nagar Road side drain, W/No.17 |
| Milan Nagar Road side drain at Lalganesh/No.17 |
| Nizarapar road side drain at Birubari, W/No.17 |
| Dharma Sarma road side drain at Birubari, W/No.17 |
| Birubari main road side drain (South side) W/No.17 |
| 4th APBN road side drain both side W/No-17 |
| Lakhra main road side Cycle factory to 4th APBN road including cross culvert (east side) W/No.17 |
| **Sl. No.** | **Group No.** | **Name of Drains** | **Name of Contractor** | **Officer In-charge** | **Estimated Amount (Rs. In L)** |
| 30 | DSLT/D-VI/C | Odalbakra inner drain from Lakhra road cross culvert to Modern English School W/No-27 | Ujjal Choudhury | 1. D. Singh, ACS, Addl. Commissioner, GMC, 9435153092 2. Gautam Das, E.E,   DIV-VI  7086030535   1. D. Mali, A.E,   DIV-VI,  9864029990 | 103.46 |
| Suraj Nagar inner drain at Odalbakra, W/No.27 |
| Inner drain at from Panch ali Path to Swahid Kanaklata path, W/No.27 |
| Lakhra road side drain from Budhbaria Bazaar towards North, W/No.27 |
| Senmela to Basistha Channel, Bridge, W/N.27 |
| Senmela road side drain from Senmela Bridge towards west W/No-27 |
| Nalapara drain both side at Beharbari, in W/No-27. |
| Drain at Garbhanga hill to Lakhra Chariali, in W/No.27 |
| Sandhyachal Nagar road side drain, W/ No.27 |

**De-silting of Major Channel**

|  |  |  |
| --- | --- | --- |
| 1 | Bharalu River | Sri Manojit Bujarbaruah, E.E, Garage Branch  Ph. No. 7086053947 |
| 2 | Mora Bharalu from Fatashil Bridge to Cycle Factory Road | Sri Monoranjan Bharali, S.E., Div-IV  Ph. No. 9435046611 |
| 3 | Basistha River | Sri Gautam Das, E.E, DIV-VI  Ph. No.9864030535 |
| 4 | Bahini River | Sri Bhivananda Choudhury, E.E., Div- V  Ph. No.9435013643 |
| 5 | Lakhimijan | Sri Bhivananda Choudhury, E.E., Div- V  Ph. No. 9435013643 |

**LOCATIONS OF WATER LOGGING AREAS AS PER RAINFALL, UNDER GMC**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sl. No.** | **Average Rainfall** | **Affected Areas** | **Duration** | **Remarks** |
| 1 | 10-20 mm | Not Affected any areas | 1.5 hours |  |
| 2 | 20-40 mm | Lamb Road (Part) | 1.5 hours | Water flow from these areas are reduced because of the cross culvert across the Railway drain |
| Liladhar Baruah Road, near AGP Office, Ambari |
| Tokobari Area |
| Part of RGB Road near NRL Petrol Pump |
| 3 | 40-50 mm | GNB Road near AGP Office Ambari | 1.5 hours | The water of the Anil Nagar, Nabin Nagar, Lachit Nagar flows to River Bharalu, which inturn discharge at River Bhrahmaputra. When the Water level of Brahmaputra remains high Sluice Gate at Bharalu remains closed. During this time water logging stays for long duration. |
| RGB Part from Nurssery to Zoo tiniali point |
| Anil Nagar |
| Nabin Nagar |
| Lakhtokia |
| Part of gandhi Basti |
| B.Baruah Road |
| Mother Terresa Road (Part) |
| Lachit Nagar |
| Juripar Road |
| Siju Bari Area, Hatigaon |
| Last Gate |
| Birubari area |
| Kahilipara Road, Near State Bank of India |
| A. T. Road, Near Police Reserve |
| Maligaon Charali |
| 4 | Above 50mm | Nepali Chouk, Noonmati | 1.5 hours |  |
| Panjabari |  |
| MRD Road (Part) |  |
| VIP road (Part) |  |
| Part of G.S. Road below Bhangagarh Flyover |  |
| Part of National Highway. |  |
| HengraBari Road near Khadi Board |  |
| **N.B:** | ***High intensity rain for shorter duration also inundates the above areas.*** | | |  |

--------------------- \*\*\*\*\*\*----------------\*\*\*\*\*\*------------------------